Characterization of Electromechanically Active Polymers using Impedance Spectroscopy

Indrek Must, Karl Kruusamäe, Urmas Johanson, Tarmo Tamm, Andres Punning, Alvo Aabloo

Intelligent Materials and Systems Lab, Institute of Technology, University of Tartu, Tartu, Estonia

Provide full correspondence details here including e-mail for the corresponding author

Provide short biographical notes on all contributors here if the journal requires them.

Characterization of Electromechanically Active Polymers using Impedance Spectroscopy

Sensors and actuators composed of electromechanically active polymer composites can be essentially improved by electrical modelling of these materials using impedance spectroscopy method.

Keywords: PCC, IPMC, position sensor

# INTRODUCTION

Electromechanically active polymers (EAP) are composite materials that exhibit changes in their mechanical properties when introduced to an electric field. In this paper we are considering EAPs that consist of thin polymer membrane covered with layers of electrically conductive materials from both sides, forming the electrodes. Low electric potential between the electrodes causes transverse movement of mobile ions inside the composite, forcing an actuator composed of a narrow piece of composite sheet to bend.

Some of EAPs also have sensorial properties. Mechanical deformation induced by external forces can cause transverse movement of ions in the sheet and/or induce changes in electrical properties of different parts of the composite. These changes could be registered as short-circuit current between opposing electrodes [], increase of ionic resistance (or double layer capacitance), which is caused by changes of ionic mobility under elevated mechanical stress conditions. Also, by bending electrode layers, electrode ohmic resistance may change. If changes in actuator shape can be estimated from the input signal, the actuator is called to be self-sensitive.

The paper at hand considers two different types of EAPs, which are rather similar in construction and operation, but are composed of different materials and have substantial differences in operating mechanism.

The first composite is called Ionic Polymer-Metal Composite (IPMC). This material is known already for about 20 years’ time. IPMC consists if a thin membrane made of ionic polymer (in our case: Nafion®), which is covered by inert metal (in our case: platinum) electrodes from both sides. Ionic polymer contains suitable mobile counter-ions (in our case: Na+ or Li+) and solvent (typically deionized water). To avoid drying, IPMC actuators are typically used in aqueous environment. A comprehensive review of IPMC’s operating principles can be found in [1] and sensorial properties are reviewed in [2].

In recent years, the research on Carbon Polymer Composite (CPC; also PCC) materials has gained lot of interest and the research in a direction of finding the most perspective materials for this type of composite is of great significance. A CPC actuator is built using two layers of electrodes comprising carbon materials with high specific surface area separated by a thin ion-permeable polymer film. Ionic liquid is used as electrolyte. In this paper, CPC materials composed of carbide-derived carbon (CDC), PVDF polymer and EMIBF4 ionic liquid is used. CPCs are operated in ambient conditions. [3,4]

Similar to supercapacitors for energy storage applications, electromechanically active polymer actuators are also typically used at maximum possible working voltage (normally 3V) to maximize strain and force characteristics. Unfortunately, maximum voltages of impedance spectrometers typically do not exceed 1V. On higher working voltages, Faradaic processes are more likely to contribute to volumetric changes. IPMC materials typically use water as a solvent and are normally operated in aqueous environment to prevent from drying.

This article offers a systematic representation of impedance spectra of CPC and IPMC materials. Possibility of using these two types of materials as position sensors is verified experimentally using impedance spectra.

Material degradation effects are important to know for practical applications and are so far not paid much attention to. This article offers representation of ageing effects with the method of impedance spectroscopy.

# IMPEDANCE BEHAVIOR OF EAP MATERIALS

Impedance of nanoporous systems and systems comprising ionic liquid and/or ionic conductance is extensively described in the literature. []

Carbon-derived carbon is a microporous material with controlled pore size distribution and very high electric double-layer capacitance. The pores in the CPC material can be described as a transmission line with distributed ionic resistance and capacitance. Transmission line behaviour can be observed both between opposing electrodes and between opposing ends of one electrode layer.

In high frequency range, these types of materials behave as ideal resistors and in very low frequencies as ideal capacitors.

# SYSTAM SET-UP

In this work a systematic approach is used to describe electrode surface and cross-electrode impedances of IPMC and CPC materials.

An impedance spectrometer Parstat 2273 was used in experiments at frequencies 5 mHz and up and spectrometer Wayne Kerr 6500B at frequencies 20 Hz and up. Measurements with sinusoidal excitation were performed at 10 mV RMS unless noted otherwise on the graph.

Electrode impedance was measured by placing voltage terminals made of gold to opposite edges of one electrode layer of an assembled composite actuator (Figure 1: A). The effect of a separator and the opposing electrode layer was considered to be small, because magnitude of conductance between opposite edges of an electrode is known to be much smaller than between opposing electrodes. Measurement of a single isolated electrode is not possible in case of IPMC material and would cause many difficulties in case of CPC material, because structural properties of a prefabricated electrode film change greatly during the assembling process of the actuator. IPMC material was measured in hydrated state.

Impedance between the electrodes (hereinafter referred as cross-electrode impedance) was measured by placing clamp-shaped voltage terminals on opposing sides of one edge of an actuator (Figure 1: C). Again, it is apparent that the effect of surface impedance also contributes to this value.

Figure 1. Configuration for impedance measurement. Electrode impedance was measured by placing voltage terminals between opposing edges of one electrode layer (A) while applying straight, concave and convex shapes to the electrode (B). Cross electrode was measured between opposing sides of composite sheet (C) while bending the sheet to one or other (arbitrary) side (D)

Both, electrode and cross-electrode impedance were registered first in free deflection mode. After that, the composite sheet was bent to opposing sides to most equal bending curvatures possible ((Figure 1: B,D).  Bode plots of impedance magnitudes and phases were composed.

In ageing experiments of IPMC material, impedances were registered by placing a polymer sheet completely between voltage terminals with larger surface area than the sheet. Material degradation effects are important to know for practical applications and are so far not paid much attention to in the literature.

# RESULTS

Impedance plot of CPC electrode (figure 2) shows mainly resistive behaviour at high frequencies (>10 kHz) and more capacitive behaviour at lower frequencies. As expected, the impedance magnitude of an electrode in expanded state (convex side of an actuator) is more than twice of the magnitude compared to an electrode in free deflection state. This can be well interpreted with increase of distance between carbon particles next to each other. However, we can see that the electrode impedance magnitude also rises when the electrode is compressed (concave side of an actuator). We would normally expect an increase in conductivity in a compressed electrode as it has been already indicated in the case of IPMC material [David?]. Further on, from the impedance phase graph we can notice that we can get an increase in phase on expanded electrode and a decrease almost equal in extent on compressed electrode. From this data, we can conclude that it is possible to estimate the deflection of CPC actuator by registering phase behaviour.

Figure 2. Bode plot of CPC electrode in case of free deflection, concave (compressed) or convex (expanded) shape.

Cross-electrode impedance spectrum of CPC material shows a strong increase in magnitude when sheet is bent on either (arbitrary) side. Although the sheet was bent to opposite sides to an equal extent, we can notice that the magnitude changes are very different. Figure 3 shows an exemplary behaviour of this type of material, but the proportions are unlike on different samples. We believe this behaviour has close connection with the behaviour of surface resistance described earlier. From the phase spectrum we can see that the phase declines in equal extent when bent to opposite sides. Cross-electrode impedance behaviour of IPMC material (Figure 4) shows a strong but almost equal change in impedance magnitude and phase when bent to opposing sides.

Figure 3. Bode plot of CPC cross-electrode impedance.

Figure 4. Bode plot of IPMC cross-electrode impedance.

# EQUIVALENT CIRCUITS

We propose following equivalent circuits for both materials considered. The circuits depicted on figure 5 are composed of distributed elements both in surface and separating layer. Equivalent circuits between surface layers (electrode effects suppressed) can in case of both materials be described as double layer capacitance coupled with ionic resistance. Although, numeric values of both parameters can be different. Also, ohmic resistance (or solution resistance) is present in case of both materials. In case of CPC material, this value changes in very broad scale from one piece to another because the properties strongly depend on assembling parameters of the composite (distance between electrodes can vary).

Figure 5. Equivalent circuits of CPC and IPMC materials. Note an extra capacitance in the CPC electrode.

It has been reported earlier that capacitance component is present in IPMC material [Punn 2007] and CPC material [Takagi?] because discrete particles in the electrode are not perfectly in electrical connection. Capacitance originating from electric double-layer can be formed in parallel with resistance originating from direct contact of conductive particles. In case of CPC material, presence of an extra capacitance not connected in parallel with resistances is present. This indicates that between some particles in the electrode have no direct linkage and {they are charged through electric field}.

# AGEING EFFECTS

Ageing effects were performed on IPMC material.

When an IPMC material undergoes a large number of working (bending) cycles, various effects can occur. The metal cations associated with ionic groups in the polymer side-chains can be replaced by protons, therefore increasing (electronic) conductivity and resulting in the loss of ionic conductivity and decrease of deflection extent. Also, the polymer and electrode layer can be mechanically damaged and the material can be contaminated. It is possible to regenerate these materials by boiling in HCl solution for removal of contamination and reintroducing desirable ions after this.

To investigate such effects, an IPMC actuator which had been standing unused for 8 months was first applied 190000 cycles of sinusoidal excitation signal at 1.5 V. Impedance spectra were registered after cycling, after changing counter-ions to H+ and after regeneration process. From figure 6 we can notice that change of cations contained in the composite to protons, electronic (parallel) conductance increases in the order of one magnitude. Comparison of spectra before and after regeneration process reveals no noticeable change in impedance magnitude at all frequencies, but only moderate change in phase behaviour at high frequencies. The extent of deflection amplitude remained unchanged in the experiment.

Further on, the IPMC actuator was cycled at higher excitation amplitudes. From figure ??? it can be seen that cycling an actuator 3600 times at 2.8 V causes more changes in impedance spectra than 20000 cycles at 1.8 V.

Figure 6. Ageing of IPMC. Consecutive experiment was performed with a single IPMC actuator.

From this experiment, we can clearly notice that higher working voltages lead to faster degradation of this type of material. Electrolysis of water contributes more at higher potentials. In figure 7, voltage-current dependence of IPMC is presented in semilogarithmic scale. At potential of about 2.3 V the slope of the graph starts to increase rapidly, giving an evidence of more dominant redox processes on electrodes. An electrochemical window of water is known to be at 1.23 V. The reason for increase of suitable working potential in case of IPMC material by 0.97 volts is deficiency of hydrogen ions inside the ionic polymer membrane.

Figure 7. Voltage-current relationship of an IPMC actuator with water used as solvent.  Notice an increase in current at 2.3 V

# REGISTERING OF IMPEDANCES AT LOW FREQUENCY RANGES

Electromechanically active polymers considered in this article can be represented as a capacitance with huge numerical value which is charged or discharged through moderately high resistance. It is obvious that the characteristic area of impedance spectra is located at very low frequency range, often falling behind mHz range. The measurements at microhertz range are extremely time consuming and in some cases cannot be performed because it is probable that the system under test can change its properties during the time of measurement.

To overcome this problem, a straightforward approach is proposed here. A resistor with well-known electrical parameters is added in parallel with system under test. An extra resistor effect is subtracted from the result data. A diversity of equivalent circuits can be parameterized by this method using equivalent impedance conversion formulas found in the literature.

# REFERENCES

1.	Shahinpoor, M., Kim, K. J., “Ionic polymer–metal composites: I. Fundamentals”, Smart Materials and Structures 10(4), 819-833 (2001).

2.	Pugal, D., Jung, K., Aabloo, A., Kim, K., “Ionic polymer-metal composite mechanoelectrical transduction: review and perspectives”, Polymer International 59(3), 279-289 (2010).

3.	Torop, J., Kaasik, F., Sugino, T., Aabloo, A., Asaka, K., “Electromechanical characteristics of actuators based on carbide-derived carbon”, Proceedings of the SPIE 7642, 76422A (2010).

4.	Torop, J., Arulepp, M., Leis, J., Punning, A., Johanson, U., Palmre, V., Aabloo, A., “Nanoporous carbide-derived carbon material-based linear actuators,” Materials 3(1), 9-25 (2010).

5.	Punning, A., Johanson, U., Anton, M., Aabloo, A., Kruusmaa, M., “A Distributed Model of Ionomeric Polymer Metal Composite”, Journal of Intelligent Material Systems and Structures 20(14), 1711 - 1724 (2009).

6.	Punning, A.; Kruusmaa, M.; Aabloo, A.. “Surface resistance experiments with IPMC sensors and actuators”, Sensors and Actuators A: Physical, 133(1), 200 - 209 (2007).

7.	Kruusamäe, K.; Punning, A.; Kruusmaa, M.; Aabloo, A., “Dynamical variation of the impedances of IPMC”, Proceedings of SPIE 7287, 72870V (2009).

8.	Leary, S., Bar-Cohen, Y., “Electrical impedance of ionic polymeric metal composites”, Proceedings of SPIE 3669, 81-86 (1999).

9.	Chen, Z., Tan, X., “A control-oriented and physics-based model for ionic polymer-metal composite actuators”, IEEE/ASME Transactions on Mechatronics 13(5), 519 – 529 (2008).

10.	Takagi, K., Nakabo, Y., Luo, Z. W., Asaka, K., “On a distributed parameter model for electrical impedance of ionic polymer,” Proceedings of SPIE 6524, 652416 (2007).

11.	Nakamura, T., Ihara, T., Horiuchi, T., Mukai, T., Asaka, K., "Measurement and Modeling of Electro-Chemical Properties of Ion Polymer Metal Composite by Complex Impedance Analysis", SICE Journal of Control, Measurement, and System Integration 2(6), 373-378 (2009).

12.	Takeuchi, I., Asaka, K., Kiyohara, K., Sugino, T., Mukai, K., Randriamahazaka, H., “Electrochemical Impedance Spectroscopy and Electromechanical Behavior of Bucky-Gel Actuators Containing Ionic Liquids”, The Journal of Physical Chemistry C, 114, 14627–14634 (2010).

13.	Randriamahazaka, H., Asaka, K., “Electromechanical Analysis by Means of Complex Capacitance of Bucky-Gel Actuators Based on Single-Walled Carbon Nanotubes and an Ionic Liquid”, The Journal of Physical Chemistry C, 114, 17982–17988 (2010).

# Comments

See lõik ei ole veel eriti sisukas.

Must-valgeks tegemisega kadus ka osa informatsiooni ära… aga mitte liga palju.